EXHIBIT A

ORDINANCE SUMMARY

ORDINANCE NO. 14-2299

publishing of the title and summary of Ordinance No. 14-2299, relating to individual sewage treatment systems within the City of Blaine

This is a summary of Ordinance No. 14-2299, amending Chapter 34, Article VII for the regulation and permitting of individual sewage treatment systems within the City of Blaine, Minnesota.

The City of Blaine enacts this ordinance in order to modify standards for the placement, design and permitting of individual sewage treatment systems on private property within the City of Blaine.

Sec. 34.241 of the ordinance outlines the purpose and authority of the new ordinance which is to establish clear standards for the design and installation of new systems as well as the inspection and modification of existing systems within the City.

Sec. 32.242 of the ordinance outlines all the general provisions and definitions that will be used for the proper administration of this ordinance.

Sec. 32.243 of the ordinance details the standards to be followed including reference to and inclusion of the Minnesota Administrative Rules Chapters 7080 and 7081. This section outlines standards for compliance inspections related to vertical separation, preliminary evaluations and holding tanks.

Sec. 34-244 of the ordinance establishes the need and requirements for the issuance of permits from the City for new or modified systems.

Sec. 34-245 of the ordinance establishes that property owners that fail to comply with the provisions of the ordinance shall be guilty of a misdemeanor.

This Summary was approved and authorized for publication by the City Council of the City of Blaine, Minnesota, on the 4th day of December 2014.